UNCLASSIFIED // DEMONSTRATION DOCUMENT — NO CUI OR CLASSIFIED DATA

# OT / XR / AR / VR Framework

CCOE-FWK-OT-013 · v1.3

| OWNER | Engineering Center — CCoE |
| --- | --- |
| CURRENT VERSION | v1.3 |
| EFFECTIVE DATE | 2026-01-15 |
| MANDATED REVIEW DATE | 2026-07-15 |
| APPLICABILITY | Operational technology and extended-reality systems (e.g., RANGE-OT, TRNG-SIM-2) |
| APPROVAL AUTHORITY | AODR |
| RELATED TEMPLATES | Closed Network Audit Standard v1.5; Standalone System Boundaries SOP v1.8 |
| SUPERSEDED DOCUMENTS | OT Framework v1.2 |

## 1. Purpose

Adapts portfolio security requirements to operational technology and extended-reality systems: segmentation, safety-system precedence, firmware management, and assessment adaptations.

## 2. Segmentation

- OT segments are isolated from IT networks by default; any IT/OT data path is a controlled interface documented on the boundary diagram with protocol, direction, and enforcement point.

- Instrumentation and safety segments never share a broadcast domain with user or business networks.

- Remote access to OT is disabled by default; where mission-justified, it is time-boxed, MFA-enforced, and session-recorded.

## 3. Safety-System Precedence

Where a security control could interfere with a safety function, safety wins — and the conflict is documented as a tailoring decision with compensating controls. Security actions on live-fire or personnel-safety systems (scans, patches, config changes) occur only in scheduled windows with the safety officer's concurrence.

## 4. Firmware Management

- Firmware versions are inventoried per device in the HW/SW inventory; drift is a finding (see PM-2523 as the worked pattern).

- Updates validate in a test enclave before touching production instrumentation.

- End-of-support firmware enters the risk register with a replacement evaluation and, where operation continues, a Risk Acceptance Memorandum with review triggers (pattern: DR-2026-022).

## 5. XR/AR/VR Specifics

- Headset and sensor data flows (audio, video, spatial mapping) are documented as data types in categorization — spatial capture of controlled areas is treated as imagery of that area.

- Training simulators (e.g., TRNG-SIM-2) hold no operational data; scenario data is fictional by design and validated as such at content review.

- Device fleets are centrally managed; personally owned XR devices are prohibited on portfolio networks.

## 6. Assessment Adaptations

Active scanning of fragile OT components may be replaced with passive monitoring, configuration review, and vendor-attested test results — substitutions documented in the SAP and approved at TRR. Closed OT networks audit annually per the Closed Network Audit Standard.

## Revision Log

| v1.3 — 2026-01-15 | XR data-type guidance added; firmware drift handling aligned to POA&M policy. |
| --- | --- |